## ESTIMATE
AMOUNT
|  | PROJECT: | TEXAS TECH UNIVERSITY HEALTH SCIENCES - ABELIENE STUDENT CENTER |  |  | Subtotal |  |  |  |  | 795026.9075
[6 empty] | Over & Profit |  |  |  |  | 397513.4537
|  | LOCATION: | 1718 PINE ST ABILIENE, TX 79601
[6 empty] | Total |  |  |  |  | 1192540.3612
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL COST
|  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Project Closeouts | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Submittal and approval | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Allowance For Temporary Shoring & Bracing | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 15000
|  |  | Subtotal | [6 empty] | 0 | 0 | 15000
|  | 2 | DIVISION 02 — DEMOLITION
SITE DEMOLITION
8 | S0-101 |  | Remove Steel Column & To 3' of Concrete Pier-Reinforcing Steel To Remain | 7 | 0% | 7 | EA | 650 | 0 | 4550 | 0 | 4550
9 | S0-101 |  | Remove Masonry Column Wrap | 349.2 | 0% | 349.2 | SF | 4.5 | 0 | 1571.4 | 0 | 1571.4
10 | S0-101 |  | Remove Partially Masonry Site Wall | 319.15 | 0% | 319.15 | SF | 5 | 0 | 1595.75 | 0 | 1595.75
11 | S0-102 |  | Remove Steel Beams | 452.27 | 0% | 452.27 | LF | 12 | 0 | 5427.24 | 0 | 5427.24
12 | S0-102 |  | Remove Steel Columns | 7 | 0% | 7 | EA | 250 | 0 | 1750 | 0 | 1750
13 | S0-102 |  | Remove Steel Deck | 1600.35 | 0% | 1600.35 | SF | 2.25 | 0 | 3600.7875 | 0 | 3600.7875
14 | C1-101 |  | Full Depth Sawcut | 39.64 | 0% | 39.64 | LF | 8 | 1 | 317.12 | 39.64 | 356.76
15 | C1-101 |  | Remove Utility Electric Line | 440.85 | 0% | 440.85 | LF | 6 | 0 | 2645.1 | 0 | 2645.1
16 | C1-101 |  | Remove Trench Drain | 16.2 | 0% | 16.2 | LF | 18 | 0 | 291.6 | 0 | 291.6
17 | C1-101 |  | Remove Pavement | 3034.58 | 0% | 3034.58 | SF | 2.25 | 0 | 6827.805 | 0 | 6827.805
18 | C1-101 |  | Relocate Gas Meter | 1 | 0% | 1 | EA | 850 | 250 | 850 | 250 | 1100
19 | C1-101 |  | Cut & Plug Existing Utility | 2 | 0% | 2 | EA | 450 | 85 | 900 | 170 | 1070
20 | L1-101 |  | Remove Steel Edging | 90.29 | 0% | 90.29 | LF | 1.5 | 0 | 135.435 | 0 | 135.435
21 | PD1-100 |  | Remove Piping | 24 | 0% | 24 | LF | 8 | 0 | 192 | 0 | 192
22 | PD1-100 |  | Remove Roof Drains | 4 | 0% | 4 | EA | 185 | 0 | 740 | 0 | 740
23 | PD1-100 |  | Relocate Gas Regulator | 1 | 0% | 1 | EA | 450 | 150 | 450 | 150 | 600
24 | A0-060 |  | Remove Brick Veneer, Air Barrier to Remain & Protect For New Wall Assembly Attachment | 1024.2 | 0% | 1024.2 | SF | 4.5 | 0.25 | 4608.9 | 256.05 | 4864.95
25 | A0-060 |  | Remove Portion Of Wall For New Opening | 19.74 | 0% | 19.74 | SF | 18 | 2 | 355.32 | 39.48 | 394.8
26 | A0-060 |  | Remove Structural Trellis System, Patch & Repair Through Wall Penetrations & Seal Around Joints | 262.41 | 0% | 262.41 | SF | 6 | 1.5 | 1574.46 | 393.615 | 1968.075
27 | A0-060 |  | Remove Cast Stone Parapet & Associated Roofing System & Flashing | 605.76 | 0% | 605.76 | SF | 6.5 | 0 | 3937.44 | 0 | 3937.44
28 | A0-060 |  | Remove Exterior Stucco Wall Finish | 37.89 | 0% | 37.89 | SF | 3 | 0 | 113.67 | 0 | 113.67
29 | A0-060 |  | Remove Exterior Masonry Wall | 319.2 | 0% | 319.2 | SF | 7 | 0 | 2234.4 | 0 | 2234.4
30 | A0-060 |  | Remove Cast Stone Exterior Wall A | 1556.7 | 0% | 1556.7 | SF | 6.5 | 0 | 10118.55 | 0 | 10118.55
31 | A0-060 |  | Remove Exterior Wall | 608.55 | 0% | 608.55 | SF | 5 | 0 | 3042.75 | 0 | 3042.75
32 | A0-060 |  | Remove Storefront System, Patch & Repair Existing Substrate In Preparation For New Finishes | 2 | 0% | 2 | EA | 650 | 150 | 1300 | 300 | 1600
33 | A0-060 |  | Remove Door in Its Entirety | 2 | 0% | 2 | EA | 125 | 0 | 250 | 0 | 250
34 | A0-060 |  | Remove Window w/ Associate Framing | 2 | 0% | 2 | EA | 150 | 0 | 300 | 0 | 300
|  |  | Subtotal | [6 empty] | 59679.7275 | 1598.785 | 61278.5125
|  | 3 | DIVISION 03— CONCRETE
GRADE BEAM
35 | S1-101 |  | (24" W x 36" D) Grade Beam - 4- #6 Bars @ Top & Bottom & 2-#6 Center & Type 2 #4 Stirrups @12" Typ. 6" Each End - At Angles Other Than 90 Degree Provide Bent Bars @ 2 Points - 50 LF @5 Bars (Top) @ 1'-0" O.C. w/ Min Lap EA Side Of GB | 80.6667 | 10% | 88.7333 | CY | 300 | 350 | 26620 | 31056.6667 | 57676.6667
SLAB ON GRADE
36 | S1-101 |  | 8" CIP Conc. Slab (Foundation Key Note 1/S1-101) - Reinforced w/ #6 Bars @ 6" Bottom Short Way & #4 @ 1'-0" O.C. - Long Way Bottom Over Carton Foam System - 15 Mil Vapor Barrier - Compacted Subgrade - (2) #4x4'-0" Re-Entrant Bars @ Slab Re-Entrant Corners (Key Note 3, Detail S5-010) | 1997.56 | 10% | 2197.316 | SF | 7.25 | 8.75 | 15930.541 | 19226.515 | 35157.056
37 | S1-101 |  | 5-1/2" Thk Concrete Slab - Reinforced w/ Commercial Polypropylene Fiber Mesh (Sika Fibermesh G50 Or Equal, @ Min 8LBS/CY) | 156.21 | 10% | 171.831 | SF | 4.5 | 4.25 | 773.2395 | 730.2818 | 1503.5213
38 | S1-101 |  | 8" CIP Conc. Slab (Foundation Key Note 7/S1-101) - Reinforced w/ #8 Bars @ 6" Bottom Short Way & #4 @ 1'-0" O.C. - Long Way Bottom Over Carton Foam System - 15 Mil Vapor Barrier - Compacted Subgrade | 594.97 | 10% | 654.467 | SF | 7.75 | 10.25 | 5072.1193 | 6708.2868 | 11780.406
EQUIPMENT PAD
39 | S1-101 |  | 8" Exterior Concrete Equipment Pad w/ Chamfer (Detail 5/S5-010) - #5 Bot EW @ 12" O.C. | 36.3 | 10% | 39.93 | SF | 9 | 7 | 359.37 | 279.51 | 638.88
DRILLED PIERS
40 | S1-101 |  | 18/48 Drilled Pier - 18" Dia. Shaft w/ 48" Dia. Belled Bottom (Foundation Plan Note 10/S1-101) - Depth: 22'-26' VLF (per Geotech) - Includes drilling, belled excavation, concrete, rebar cage - (6) #8 vert, #3 ties @ 1'-6" O.C. - (4) dowels w/ 6" O.C. lap ties. | 9 | 0% | 9 | EA | 2200 | 1600 | 19800 | 14400 | 34200
41 | S1-101 |  | 18/36 Drilled Pier - 18" Dia. Shaft w/ 36" Dia. Belled Bottom (Foundation Plan Note 10/S1-101) - Depth: 22'-26' VLF (per Geotech) - Includes drilling, belled excavation, concrete, rebar cage - (6) #8 vert, #3 ties @ 1'-6" O.C. - (4) dowels w/ 6" O.C. lap ties. | 4 | 0% | 4 | EA | 2000 | 1450 | 8000 | 5800 | 13800
|  |  | Subtotal | [6 empty] | 76555.2698 | 78201.2602 | 154756.5299
|  | 4 | DIVISION 04— MASONRY
PARAPET WALL
42 | A1-116 |  | Cast Stone Parapet Wall | 262 | 10% | 288.2 | SF | 34 | 48 | 9798.8 | 13833.6 | 23632.4
43 | A5-505 |  | Precut Reglet For Cap Flashing | 131 | 10% | 144.1 | LF | 6 | 4 | 864.6 | 576.4 | 1441
44 | A5-505 |  | Cast Stone Cornice | 131 | 10% | 144.1 | LF | 32 | 68 | 4611.2 | 9798.8 | 14410
45 | A5-505 |  | Counter Flashing | 131 | 10% | 144.1 | LF | 7 | 6.5 | 1008.7 | 936.65 | 1945.35
EXTERIOR FINISHES
46 | A2-200 |  | Brick Veneer (EWA1) - Modular Brick To Match Existing Adjacent Brick (A2-200) | 894 | 10% | 983.4 | SF | 17 | 9.5 | 16717.8 | 9342.3 | 26060.1
|  |  | Subtotal | [6 empty] | 33001.1 | 34487.75 | 67488.85
|  | 5 | DIVISION 05 — METALS
STRUCTURAL STEEL
METAL BEAMS:
47 | S1-102 |  | W12X26 | 1632.02 | 10% | 1795.222 | LBS | 1.05 | 1.35 | 1884.9831 | 2423.5497 | 4308.5328
48 | S1-102 |  | W16X36 | 5430.6 | 10% | 5973.66 | LBS | 1.05 | 1.35 | 6272.343 | 8064.441 | 14336.784
49 | S1-102 |  | W12X16 | 357.44 | 10% | 393.184 | LBS | 1.05 | 1.35 | 412.8432 | 530.7984 | 943.6416
50 | S1-102 |  | W18X40 | 777.6 | 10% | 855.36 | LBS | 1.05 | 1.35 | 898.128 | 1154.736 | 2052.864
METAL COLUMNS & POSTS:
51 | S1-101 |  | HSS8X8X5/16 | 2865.6 | 10% | 3152.16 | LBS | 1.1 | 1.45 | 3467.376 | 4570.632 | 8038.008
52 | S1-101 |  | HSS8X8X5/8 | 3559.2 | 10% | 3915.12 | LBS | 1.1 | 1.45 | 4306.632 | 5676.924 | 9983.556
BASE PLATE:
53 | S5-001 |  | PL 1-1/4"X16"X16" Steel Base Plate - w/ (4) 1-13/16" Ø Anchor Holes - Includes (4) 1"Øx16"L ASTM F1554 (36 KSI) Threaded Anchor Rods w/ Heavy Hex Nuts - 3/8" x 3" Plate Washer - Requires 2" Non-Shrink Grout Bed Beneath The Plate | 10 | 0% | 10 | EA | 100 | 165 | 1000 | 1650 | 2650
STEEL ANGLE:
54 | S1-102 |  | L5X3X1/4 (LLV) Roof Deck Support Angle | 2013.198 | 10% | 2214.5178 | LBS | 1.25 | 1.35 | 2768.1472 | 2989.599 | 5757.7463
55 | S1-102 |  | L4X4X1/4 | 159.258 | 10% | 175.1838 | LBS | 1.25 | 1.35 | 218.9797 | 236.4981 | 455.4779
56 | S1-102 |  | L6X6X3/8 | 289.656 | 10% | 318.6216 | LBS | 1.25 | 1.35 | 398.277 | 430.1392 | 828.4162
STEEL BRIDGING:
57 | S1-102 |  | Horizontal Bridging Per SJI Criteria For Joist Span & Depth Noted - Bridging To Be Sized, Supplied & Installed Per Joist Manf | 550.57 | 10% | 605.627 | LF | 2.25 | 1.75 | 1362.6608 | 1059.8473 | 2422.508
ROOF FRAMING
58 | S1-102 |  | 2.5K1 Steel Roof Joists @ 4'-6" O.C. | 98.72 | 10% | 108.592 | SF | 2.1 | 3.4 | 228.0432 | 369.2128 | 597.256
59 | S1-102 |  | 12K1 Steel Roof Joists @ 4'-6" O.C. | 624.01 | 10% | 686.411 | SF | 2.1 | 3.4 | 1441.4631 | 2333.7974 | 3775.2605
60 | S1-102 |  | 14K4 Steel Roof Joists @ 4'-6" O.C. | 1354.27 | 10% | 1489.697 | SF | 2.1 | 3.4 | 3128.3637 | 5064.9698 | 8193.3335
61 | S1-102 |  | 12K3 Steel Roof Joists @ 4'-6" O.C. | 618.41 | 10% | 680.251 | SF | 2.1 | 3.4 | 1428.5271 | 2312.8534 | 3741.3805
62 | S1-102 |  | 1-1/2" 20 GA Galvanized (G90) Type "B" Metal Roof Deck | 2706.45 | 10% | 2977.095 | SF | 1.35 | 2.4 | 4019.0783 | 7145.028 | 11164.1063
|  |  | Subtotal | [6 empty] | 33235.8454 | 46013.0261 | 79248.8715
|  | 6 | DIVISION 06 — WOOD,PLASTICS & COMPOSITES
MILLWORK
63 | A4-450 |  | (2'-6" W) Base Cabinet PL-1 Manf: Formica Style/Model: High Pressure Laminate/Fenix NTM Standard Core/Grade JM Color: J0718 Grigio Londra - .7MM Thick, FSC Certified - Wood-Look Plastic Laminate To Run Vertically (Interior Finish Note 18/A7-001) | 24.48 | 10% | 26.928 | LF | 25 | 65 | 673.2 | 1750.32 | 2423.52
CASEWORK
64 | A4-450 |  | Upholstery / Casework Finish UP1 Manf: Stinson Series/Style: Nishiki 2.0 - Color: Lacquer LIH269 - VIF | 26 | 10% | 28.6 | SF | 12 | 38 | 343.2 | 1086.8 | 1430
|  |  | Subtotal | [6 empty] | 1016.4 | 2837.12 | 3853.52
|  | 7 | DIVISION 07— THERMAL & MOISTURE PROTECTION
ROOFING
65 | A1-116 |  | TPO Roofing Membrane | 2771 | 10% | 3048.1 | SF | 2.25 | 2.1 | 6858.225 | 6401.01 | 13259.235
66 | A5-505 |  | 5/8" Cover Board | 2771 | 10% | 3048.1 | SF | 0.65 | 0.95 | 1981.265 | 2895.695 | 4876.96
67 | A5-505 |  | Rigid, Closed Cell Foam Insulation | 2771 | 10% | 3048.1 | SF | 0.85 | 2.4 | 2590.885 | 7315.44 | 9906.325
68 | A5-505 |  | Vapor Permeable Air Barrier - 30 Mil Thick - Rubberized Asphalt Membrane Adhered To Polyethylene Or Polyolefin Top Sheet - Base Product Carlisle 725TR | 2771 | 10% | 3048.1 | SF | 1.1 | 1.35 | 3352.91 | 4114.935 | 7467.845
69 | A1-116 |  | Tapered Insulation | 71 | 10% | 78.1 | SF | 1 | 3.25 | 78.1 | 253.825 | 331.925
EXTERIOR FINISHES
70 | A2-200 |  | Metal Panel Wall System Vertical Ribbed (EWA2) - Preformed Metal Wall Panel On 6" CF Metal Stud Backup | 1224 | 10% | 1346.4 | SF | 9.5 | 15.5 | 12790.8 | 20869.2 | 33660
71 | A2-200 |  | Air & Water Weather-Resistive Barrier | 2118 | 10% | 2329.8 | SF | 0.8 | 0.9 | 1863.84 | 2096.82 | 3960.66
INSULATION
72 | A2-200 |  | Continuous Rigid Exterior Insulation | 2118 | 10% | 2329.8 | SF | 1.1 | 1.85 | 2562.78 | 4310.13 | 6872.91
FLASHING
73 | A2-200 |  | Wall Flashing & Weep Holes | 236 | 10% | 259.6 | LF | 6.5 | 5.5 | 1687.4 | 1427.8 | 3115.2
FIRESTOPPING
74 | A1-115A |  | Allowance For Fire Stopping | 1 | 0% | 1 | LS | 1500 | 650 | 1500 | 650 | 2150
|  |  | Subtotal | [6 empty] | 35266.205 | 50334.855 | 85601.06
|  | 8 | DIVISION 08 — OPENINGS
DOORS & FRAMES
75 | A6-001 |  | (3'-4" x 9'-0") Interior Glazing Type L Door w/ Aluminum & T Glass Frame - Study Rooms 1401B, C, D, F, G - Dark Bronze Frame; Privacy Frosted Glass; Soft Door Closer; High STC (Schedule A6-011) | 5 | 0% | 5 | EA | 850 | 2850 | 4250 | 14250 | 18500
76 | A6-001 |  | (3'-4-1/2" x 9'-0") Interior Glazing Type L Door w/ Aluminum & T Glass Frame - Study Room 1401E - Dark Bronze Frame; Privacy Frosted Glass; Soft Door Closer; High STC (Schedule A6-011) | 1 | 0% | 1 | EA | 850 | 3450 | 850 | 3450 | 4300
77 | A6-001 |  | (6'-0" x 8'-0") Type F Aluminum & Glazing Type T Door w/ Type F01 Aluminum & T Glass Frame | 1 | 0% | 1 | EA | 1350 | 6400 | 1350 | 6400 | 7750
78 | A4-450 |  | (2'-6" x 2'-6") Wall Door - Exterior access Door w/ A Gypsum Board Reveal & Removable Panel - Please Verify (Confirm whether it's an interior access panel or the exterior access door.) | 1 | 0% | 1 | EA | 225 | 550 | 225 | 550 | 775
DOOR HARDWARE
79 | A6-001 |  | Hardware Set 1 (Study Room Doors) - Soft Door Closer; Privacy Hardware Per Spec | 6 | 0% | 6 | EA | 200 | 650 | 1200 | 3900 | 5100
80 | A6-001 |  | Hardware Set 3 (Breakroom Pair) - Closer, Scheduled Access, Hold Open, ADA Push Button Operator | 1 | 0% | 1 | EA | 900 | 4200 | 900 | 4200 | 5100
WINDOWS
81 | A1-115A |  | (8'-0" x 10'-0") Aluminum Glazing Storefront | 9 | 0% | 9 | EA | 1500 | 4000 | 13500 | 36000 | 49500
82 | A1-115A |  | Roller Window Shades WS1 Manf: Mecho Shade Series/Style: Mecho 5X Manual / Thermoveil Shadecloth / 1500 Series - 1504 Black Brown, 3% Open - All Exterior Windows Within Scope | 9 | 0% | 9 | EA | 150 | 45 | 1350 | 405 | 1755
|  |  | Subtotal | [6 empty] | 23625 | 69155 | 92780
|  | 9 | DIVISION 09 — FINISHES
DRYWALLS
|  |  | WALL TYPE EWA1,2 AS: (1 HR FIRE RATED) (CHASE WALL) | 235.5 | LF | 11
83 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On Both Sides | 5181 | 10% | 5699.1 | SF | 1.85 | 0.95 | 10543.335 | 5414.145 | 15957.48
84 | A1-115A |  | Sound Attenuation Batt Insulation | 2590.5 | 10% | 2849.55 | SF | 0.45 | 0.65 | 1282.2975 | 1852.2075 | 3134.505
85 | A1-115A |  | 6" Metal Studs @ 16" O.C. | 1947.7444 | 10% | 2142.5188 | LF | 3.1 | 2.85 | 6641.8083 | 6106.1786 | 12747.9868
86 | A1-115A |  | 6" Top & Bottom Runners | 471 | 10% | 518.1 | LF | 1.4 | 1.45 | 725.34 | 751.245 | 1476.585
87 | A1-115A |  | Fire Rated Sealant | 942 | 10% | 1036.2 | LF | 1.45 | 1.1 | 1502.49 | 1139.82 | 2642.31
|  |  | WALL TYPE J3 AS: (NON-RATED) | 54.6 | LF | 9
88 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On One Side | 491.4 | 10% | 540.54 | SF | 1.85 | 0.95 | 999.999 | 513.513 | 1513.512
89 | A1-115A |  | Sound Attenuation Batt Insulation. - Insulation height extends to the roof deck | 737.1 | 10% | 810.81 | SF | 0.45 | 0.65 | 364.8645 | 527.0265 | 891.891
90 | A1-115A |  | 3-5/8" Metal Studs @ 16" O.C.. - Stud height extends to the roof deck | 554.2105 | 10% | 609.6316 | LF | 2.75 | 2.1 | 1676.4868 | 1280.2263 | 2956.7132
91 | A1-115A |  | 3-5/8" Top & Bottom Runners | 109.2 | 10% | 120.12 | LF | 1.25 | 1.1 | 150.15 | 132.132 | 282.282
92 | A1-115A |  | Sealant | 54.6 | 10% | 60.06 | LF | 1.1 | 0.65 | 66.066 | 39.039 | 105.105
|  |  | WALL TYPE J2 AS: (NON-RATED) | 3.3 | LF | 10.5
93 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On One Side | 34.65 | 10% | 38.115 | SF | 1.85 | 0.95 | 70.5128 | 36.2092 | 106.722
94 | A1-115A |  | Sound Attenuation Batt Insulation - Insulation height extends to the roof deck | 44.55 | 10% | 49.005 | SF | 0.45 | 0.65 | 22.0523 | 31.8533 | 53.9055
95 | A1-115A |  | 3-5/8" Metal Studs @ 16" O.C. - Stud height extends to the roof deck | 33.4962 | 10% | 36.8459 | LF | 2.75 | 2.1 | 101.3261 | 77.3763 | 178.7024
96 | A1-115A |  | 3-5/8" Top & Bottom Runners | 6.6 | 10% | 7.26 | LF | 1.25 | 1.1 | 9.075 | 7.986 | 17.061
97 | A1-115A |  | Sealant | 3.3 | 10% | 3.63 | LF | 1.1 | 0.65 | 3.993 | 2.3595 | 6.3525
|  |  | WALL TYPE N1 AS: (DIRECT APPLIED) | 16 | LF | 10.5
98 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On One Side | 168 | 10% | 184.8 | SF | 1.85 | 0.95 | 341.88 | 175.56 | 517.44
99 | A1-115A |  | Sealant | 16 | 10% | 17.6 | LF | 1.1 | 0.65 | 19.36 | 11.44 | 30.8
|  |  | WALL TYPE M1 AS: (FURRING PARTITION) | 27.5 | LF | 12
100 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On One Side | 330 | 10% | 363 | SF | 1.85 | 0.95 | 671.55 | 344.85 | 1016.4
101 | A1-115A |  | 7/8" Vertical Furring Channels @ 16" O.C. | 248.1203 | 10% | 272.9323 | LF | 1.45 | 0.65 | 395.7519 | 177.406 | 573.1579
102 | A1-115A |  | 7/8" Horizontal Furring Channels | 55 | 10% | 60.5 | LF | 1.45 | 0.65 | 87.725 | 39.325 | 127.05
103 | A1-115A |  | Sealant | 27.5 | 10% | 30.25 | LF | 1.1 | 0.65 | 33.275 | 19.6625 | 52.9375
|  |  | WALL TYPE L3 AS: (FURRING PARTITION) | 11 | LF | 13.5
104 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On One Side | 148.5 | 10% | 163.35 | SF | 1.85 | 0.95 | 302.1975 | 155.1825 | 457.38
105 | A1-115A |  | Sound Attenuation Batt Insulation | 148.5 | 10% | 163.35 | SF | 0.45 | 0.65 | 73.5075 | 106.1775 | 179.685
106 | A1-115A |  | 3-5/8" Metal Studs @ 16" O.C. | 111.6541 | 10% | 122.8195 | LF | 2.75 | 2.1 | 337.7538 | 257.9211 | 595.6748
107 | A1-115A |  | 3-5/8" Top & Bottom Runners | 22 | 10% | 24.2 | LF | 1.25 | 1.1 | 30.25 | 26.62 | 56.87
108 | A1-115A |  | Fire Rated Sealant | 22 | 10% | 24.2 | LF | 1.45 | 1.1 | 35.09 | 26.62 | 61.71
|  |  | WALL TYPE F3 AS: (2 HR FIRE RATED) (CHASE WALL) - UL U420, STC 67 | 36.7 | LF | 13.5
109 | A1-115A |  | (2) Layer Of 5/8" Gypsum Wallboard On Both Sides | 1981.8 | 10% | 2179.98 | SF | 1.85 | 0.95 | 4032.963 | 2070.981 | 6103.944
110 | A1-115A |  | Sound Attenuation Batt Insulation | 495.45 | 10% | 544.995 | SF | 0.45 | 0.65 | 245.2478 | 354.2468 | 599.4945
111 | A1-115A |  | 3-5/8" Double Metal Studs @ 48" O.C. | 745.0376 | 10% | 819.5414 | LF | 2.75 | 2.1 | 2253.7387 | 1721.0368 | 3974.7756
112 | A1-115A |  | 3-5/8" Top & Bottom Runners | 146.8 | 10% | 161.48 | LF | 1.25 | 1.1 | 201.85 | 177.628 | 379.478
113 | A1-115A |  | Fire Rated Sealant | 146.8 | 10% | 161.48 | LF | 1.45 | 1.1 | 234.146 | 177.628 | 411.774
|  |  | WALL Type S3 (Base Wall Type A3 w/ Modifier" S") | 48.2 | LF | 10
114 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On Both Sides - Provide Security Mesh @ GWB | 964 | 10% | 1060.4 | SF | 1.85 | 0.95 | 1961.74 | 1007.38 | 2969.12
115 | A1-115A |  | "Modifier S "Expanded Security Mesh @ GWB | 482 | 10% | 530.2 | SF | 0.95 | 1.45 | 503.69 | 768.79 | 1272.48
116 | A1-115A |  | Sound Attenuation Batt Insulation | 482 | 10% | 530.2 | SF | 0.45 | 0.65 | 238.59 | 344.63 | 583.22
117 | A1-115A |  | 3-5/8" Metal Studs @ 16" O.C. | 362.406 | 10% | 398.6466 | LF | 2.75 | 2.1 | 1096.2782 | 837.1579 | 1933.4361
118 | A1-115A |  | 3-5/8" Top & Bottom Runners | 96.4 | 10% | 106.04 | LF | 1.25 | 1.1 | 132.55 | 116.644 | 249.194
119 | A1-115A |  | Sealant | 192.8 | 10% | 212.08 | LF | 1.1 | 0.65 | 233.288 | 137.852 | 371.14
|  |  | WALL TYPE S6 AS: (6" STUD W/ Modifier" S") | 62 | LF | 10
120 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On Both Sides - Provide Security Mesh @ GWB | 1240 | 10% | 1364 | SF | 1.85 | 0.95 | 2523.4 | 1295.8 | 3819.2
121 | A1-115A |  | "Modifier S "Expanded Security Mesh @ GWB | 620 | 10% | 682 | SF | 0.95 | 1.45 | 647.9 | 988.9 | 1636.8
122 | A1-115A |  | Sound Attenuation Batt Insulation | 620 | 10% | 682 | SF | 0.45 | 0.65 | 306.9 | 443.3 | 750.2
123 | A1-115A |  | 6" Metal Studs @ 16" O.C. | 466.1654 | 10% | 512.782 | LF | 3.1 | 2.85 | 1589.6241 | 1461.4286 | 3051.0526
124 | A1-115A |  | 6" Top & Bottom Runners | 124 | 10% | 136.4 | LF | 1.4 | 1.45 | 190.96 | 197.78 | 388.74
125 | A1-115A |  | Sealant | 248 | 10% | 272.8 | LF | 1.1 | 0.65 | 300.08 | 177.32 | 477.4
|  |  | WALL TYPE E3 AS: (1 HR CHASE PARTITION - UL U420 Extended To Deck 'Modifier E') | 3 | LF | 13.5
126 | A1-115A |  | (1) Layer Of 5/8" Gypsum Wallboard On Both Sides - Provide Security Mesh @ GWB | 81 | 10% | 89.1 | SF | 2.6 | 2.1 | 231.66 | 187.11 | 418.77
127 | A1-115A |  | Sound Attenuation Batt Insulation | 40.5 | 10% | 44.55 | SF | 0.45 | 0.65 | 20.0475 | 28.9575 | 49.005
128 | A1-115A |  | 3-5/8" Double Stud Metal Studs @ 16" O.C. | 60.9023 | 10% | 66.9925 | LF | 2.75 | 2.1 | 184.2293 | 140.6842 | 324.9135
129 | A1-115A |  | 3-5/8" Top & Bottom Runners | 6 | 10% | 6.6 | LF | 1.25 | 1.1 | 8.25 | 7.26 | 15.51
130 | A1-115A |  | Sealant | 12 | 10% | 13.2 | LF | 1.1 | 0.65 | 14.52 | 8.58 | 23.1
CEILING
131 | A1-140A |  | 5/8" Gypsum Board Ceiling | 1597 | 10% | 1756.7 | SF | 2.25 | 3 | 3952.575 | 5270.1 | 9222.675
132 | A1-140A |  | (2'x2') Acoustical Ceiling ACT-1 Manf: Armstrong Series/Style: Ultima w/ Airguard Coating/Beveled Tegular/1901/Prelude Grid - White - 24"x24"x15/16" Grid - Radius Corner - Refer To RCP | 863.17 | 10% | 949.487 | SF | 3 | 4 | 2848.461 | 3797.948 | 6646.409
133 | A1-140A |  | Acoustical Ceiling ACT-2 @ Student Lounge Manf: Arktura Series/Style: Trisoft/Acoustic PET/A, B, & C Modules - Carbon/Jet Black Powdercoat Frame - 56 x 4-1/2" | 104.95 | 10% | 115.445 | SF | 6 | 12 | 692.67 | 1385.34 | 2078.01
MOLDING:
134 | A1-140A |  | Shadow Molding | 137 | 10% | 150.7 | LF | 1.25 | 0.85 | 188.375 | 128.095 | 316.47
FLOORING
135 | A7-101 |  | Resilient Tile Flooring RT1 Manf: Armstrong Series/Style: Duo - St931 Spettro Caspian Sand - 6"x36"x2.5MM | 1619.87 | 10% | 1781.857 | SF | 2.25 | 4.25 | 4009.1782 | 7572.8922 | 11582.0705
136 | A7-101 |  | Carpet Tile Flooring CPT1 Manf: J+J Flooring Series/Style: Journey II 7621 Modular - 3348 Red Pace - 18"x36" - Vertical Ashlar Install Method (Short End) | 1086.27 | 10% | 1194.897 | SF | 1.35 | 3.75 | 1613.111 | 4480.8638 | 6093.9747
TRANSITION:
137 | A7-101 |  | Aluminum Flush Transition Profile - CPT1 To RT1 (Detail A1/A7-001) | 37.52 | 10% | 41.272 | LF | 3.5 | 6.5 | 144.452 | 268.268 | 412.72
138 | A7-101 |  | Aluminum Flush Transition Profile - RT1 To Existing Porcelain Tile (Detail A2/A7-001) | 23.04 | 10% | 25.344 | LF | 3.5 | 6.5 | 88.704 | 164.736 | 253.44
WALL BASE:
139 | A7-101 |  | Rubber Base RB2 Manf: Roppe Series/Style: Candid #60 PV4060 - 671 Somber - 4-1/4" H | 489.04 | 10% | 537.944 | LF | 1.35 | 1.25 | 726.2244 | 672.43 | 1398.6544
WALL FINISHES
140 | A4-450 |  | Wall Tile T1 Manf: Daltile Series/Style: Artcrafted Drift AC30 - 3"x13" | 35.9 | 10% | 39.49 | SF | 10 | 9 | 394.9 | 355.41 | 750.31
141 | A4-450 |  | Acoustical Wall Panel AWP1 Manf: Turf Series/Style: Static/F7 - 06 Charcoal - 9MM Thick | 44.8 | 10% | 49.28 | SF | 4.5 | 12 | 221.76 | 591.36 | 813.12
142 | A4-450 |  | Solid Surface Fabrication SSF1 Manf: Corian Series/Style: Canvas - VIF | 25.83 | 10% | 28.413 | SF | 18 | 42 | 511.434 | 1193.346 | 1704.78
143 | A4-450 |  | Decorative Film DF1 Manf: 3M Series/Style: 3M Scotchcal Clear View Graphic Film IJ8150/Custom Printed Graphic - Match Sherwin Williams SW 6866 Heartthrob | 244.38 | 10% | 268.818 | SF | 3.5 | 8.5 | 940.863 | 2284.953 | 3225.816
144 | A4-450 |  | Gypsum Board Trim GT1 Manf: Fry Reglet Series/Style: Protruding Edge Reveal DRMP WR-100-75 W/ Factory Fabricated 90-Degree Outside Corners - Clear Anodized Aluminum - 1"x34" / Outside Corner Leg To Match Wall Thickness - Trim To Have A Custom Formed Outside Corner | 48.69 | 10% | 53.559 | LF | 4.5 | 7.5 | 241.0155 | 401.6925 | 642.708
145 | A4-450 |  | Plastic Laminate @ Soffit PL-1 Manf: Formica Style/Model: High Pressure Laminate/Fenix NTM Standard Core/Grade JM Color: J0718 Grigio Londra - .7MM Thick, FSC Certified | 19 | 10% | 20.9 | SF | 8 | 9 | 167.2 | 188.1 | 355.3
PAINT
146 | A7-101,A4-450 |  | Paint @ Wall PT-1 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7103 Whitetail | 3804 | 10% | 4184.4 | SF | 1.1 | 0.5 | 4602.84 | 2092.2 | 6695.04
147 | A7-101,A4-450 |  | Paint @ Wall PT-2 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7016 Mindful Gray | 2474 | 10% | 2721.4 | SF | 1.1 | 0.5 | 2993.54 | 1360.7 | 4354.24
148 | A7-101 |  | Paint @ Wall PT-4 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW6991 Black Magic (Accent) | 160 | 10% | 176 | SF | 1.1 | 0.5 | 193.6 | 88 | 281.6
149 | A4-450 |  | Paint @ Soffit PT-1 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7103 Whitetail | 46 | 10% | 50.6 | SF | 1.15 | 0.55 | 58.19 | 27.83 | 86.02
150 | A4-450 |  | Paint @ Soffit PT-3 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7019 Gauntlet Gray | 110 | 10% | 121 | SF | 1.15 | 0.55 | 139.15 | 66.55 | 205.7
151 | A4-450 |  | Paint @ Soffit PT-5 Manf: Sherwin Williams Style/Model: Latex/Semigloss, Flat For Ceilings Color: SW6866 Heartthrob | 19 | 10% | 20.9 | SF | 1.15 | 0.55 | 24.035 | 11.495 | 35.53
152 | A1-140A |  | Paint @ Expose Ceiling PT-1 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7103 Whitetail | 880.77 | 10% | 968.847 | SF | 1.3 | 0.6 | 1259.5011 | 581.3082 | 1840.8093
153 | A1-140A |  | Paint @ Expose Ceiling PT-2 Manf: Sherwin Williams Style/Model: Latex/Semigloss Color: SW7016 Mindful Gray | 289.23 | 10% | 318.153 | SF | 1.3 | 0.6 | 413.5989 | 190.8918 | 604.4907
154 | A1-140A |  | Paint @ Gyp. Bd. Ceiling PT-1 Manf: Sherwin Williams Style/Model: Latex, Flat For Ceilings Color: SW7103 Whitetail | 1422 | 10% | 1564.2 | SF | 1.15 | 0.55 | 1798.83 | 860.31 | 2659.14
|  |  | Subtotal | [6 empty] | 71863.9975 | 65937.996 | 137801.9936
|  | 10 | DIVISION 10 — SPECIALTIES
ACCESSORIES
155 | A4-450 |  | Paper Towel Dispenser TA7 - Provided By TTUHSC, Installed By Contractor - No Blocking Needed (Sheet Note 3/A4-450) - Install Only | 1 | 0% | 1 | EA | 65 | 0 | 65 | 0 | 65
156 | A4-450 |  | Soap Dispenser TA9V - Provided By TTUHSC, Installed By Contractor - No Blocking Needed (Sheet Note 3/A4-450) - Install Only | 1 | 0% | 1 | EA | 65 | 0 | 65 | 0 | 65
MISC
157 | A4-450 |  | Letter Sign "Healthier Future" - INSTALL ONLY | 1 | 0% | 1 | EA | 450 | 25 | 450 | 25 | 475
158 | A1-115A |  | Fire Extinguisher Cabinet | 1 | 0% | 1 | EA | 65 | 185 | 65 | 185 | 250
159 | A4-450 |  | Solid Color Pattern To Be Painted. Number Are Clear Film w/ No Pigment - Align Edge Of Number To Edge Of Glass As Shown. Aerial Font - INSTALL ONLY | 6 | 0% | 6 | EA | 45 | 5 | 270 | 30 | 300
|  |  | Subtotal | [6 empty] | 915 | 240 | 1155
|  | 11 | DIVISION 11 — EQUIPMENT
KITCEHN APPLIANCES - INSTALL ONLY
160 | A1-115A |  | Vending Machine | 2 | 0% | 2 | EA | 150 | 0 | 300 | 0 | 300
161 | A1-115A |  | Microwaves | 2 | 0% | 2 | EA | 75 | 0 | 150 | 0 | 150
162 | A1-115A |  | Coffee Machine | 1 | 0% | 1 | EA | 125 | 0 | 125 | 0 | 125
163 | A1-115A |  | Ice Machine | 1 | 0% | 1 | EA | 250 | 0 | 250 | 0 | 250
164 | A1-115A |  | Fridge | 2 | 0% | 2 | EA | 150 | 0 | 300 | 0 | 300
165 | A1-115A |  | TV Display Monitor (Future, By Owner) - Provide Rough Wood Blocking Only (Keynote F03/A1-115A) | 6 | 0% | 6 | EA | 65 | 35 | 390 | 210 | 600
166 | A1-115A |  | Glass Marker Board & Tackboards MB-1 - Manf: Clarus - Series/Style: Glass Marker Board / Float - Frameless/Magnetic - White Size: 48" x 108" | 6 | 0% | 6 | EA | 250 | 1650 | 1500 | 9900 | 11400
|  |  | Subtotal | [6 empty] | 3015 | 10110 | 13125
|  | 12 | DIVISION 12 — FURNISHINGS
COUNTERTOP
167 | A1-115A |  | Solid Surface Countertop SSF1 Manf: Corian Series/Style: Canvas | 62.01 | 10% | 68.211 | SF | 25 | 58 | 1705.275 | 3956.238 | 5661.513
KITCHEN ISLAND
168 | A1-115A |  | (2'-6" x 10'-10") Kitchen Island - PL1 Plastic Laminate Casework Base w/ SSF1 Top & Mitered Waterfall Edges (Elev. A1/A2 A4-450) | 1 | 0% | 1 | EA | 1200 | 4200 | 1200 | 4200 | 5400
169 | A4-450 |  | Waterfall Edge SSF1 Manf: Corian Series/Style: Canvas | 34.49 | 10% | 37.939 | LF | 30 | 55 | 1138.17 | 2086.645 | 3224.815
BENCH
170 | A1-115A |  | (2'-0" x 8'-4") Built-In Bench SSF1 Manf: Corian Series/Style: Canvas | 1 | 0% | 1 | EA | 850 | 2400 | 850 | 2400 | 3250
171 | A1-115A |  | (1'-6" x 7'-0") Built-In Bench SSF1 Manf: Corian Series/Style: Canvas | 1 | 0% | 1 | EA | 700 | 1900 | 700 | 1900 | 2600
|  |  | Subtotal | [6 empty] | 5593.445 | 14542.883 | 20136.328
|  | 22 | DIVISION 22 — PLUMBING
PLUMBING FIXTURES
172 | P6-600 |  | Tag DSN-1 Type: Downspout Nozzle Manf: Zurn Model: Z199-DC-VP - Provide Downspout Nozzle Sized For Piping Indicated On Plans | 3 | 0% | 3 | EA | 145 | 185 | 435 | 555 | 990
173 | P6-600 |  | Tag S-1 Type: Sink Manf: Elkay Model: LR-2219/LK-99 Chicago Faucet 786-E29VP 2.0 GPM Description: Single Compartment Self-Rimming Sink Constructed Of Type 302 18-8 Stainless Steel, 22" X 19" X 7-1/2" Deep. Notes: Interior And Top Surfaces Shall Be Polished To A High Luster Finish. Provide Sink With Stainless Steel Crumb Cup Strainer. Provide Fixture Punched For 3-Hole Faucet Installation On 4-Inch Centers. | 1 | 0% | 1 | EA | 325 | 650 | 325 | 650 | 975
174 | P1-100 |  | Tag AD-1 Type: Area Drain Manf: Watts Model: FD-320 | 1 | 0% | 1 | EA | 225 | 285 | 225 | 285 | 510
175 | P2-200 |  | Tag RD-1 Type: Roof Drain Manf: Watts Model: RD-300-K40 | 3 | 0% | 3 | EA | 350 | 650 | 1050 | 1950 | 3000
176 | P2-200 |  | Tag RD-2 Type: Roof Drain Manf: Watts Model: RD-300-K40-R | 3 | 0% | 3 | EA | 350 | 700 | 1050 | 2100 | 3150
177 | P6-600 |  | 2" Wall Cleanout | 1 | 0% | 1 | EA | 95 | 65 | 95 | 65 | 160
178 | P1-100 |  | Cleanout | 1 | 0% | 1 | EA | 145 | 95 | 145 | 95 | 240
179 | P1-101 |  | Accessible Isolation Valve | 5 | 0% | 5 | EA | 65 | 45 | 325 | 225 | 550
180 | P2-200 |  | 2" Vent Thru Roof | 1 | 0% | 1 | EA | 185 | 85 | 185 | 85 | 270
181 | P1-100 |  | Tailpiece w/ Air Gap | 1 | 0% | 1 | EA | 65 | 45 | 65 | 45 | 110
182 | P1-101 |  | Vented Containment Sleeve | 147 | 0% | 147 | LF | 8 | 6 | 1176 | 882 | 2058
PLUMBING EQUIPMENT
183 | P6-600 |  | Tag: EWH-1 Type: Electric Water Heater Manf: EEMAX Model: AM010240T Weight: 6 LB Specifications / Notes: Provide External ASSE 1017 Compliant Mixing Valve Or An Integral ASSE 1070 Rated Mixing Valve In The Unit. | 1 | 0% | 1 | EA | 300 | 450 | 300 | 450 | 750
WATER PIPES
184 | P1-101,P6-600 |  | 3/4" Domestic Cold Water Pipe | 45.94 | 10% | 50.534 | LF | 9.5 | 4.5 | 480.073 | 227.403 | 707.476
GAS PIPE
185 | P1-101,P6-600 |  | 1-1/4" Natural Gas Pipe (Reroute Underground Around Existing Building) - Provide Vented Pipe Sleeve On Gas Piping Under Slab (P6-600 Key Note 8) | 28.22 | 10% | 31.042 | LF | 14 | 8.5 | 434.588 | 263.857 | 698.445
WASTE & VENT PIPES
186 | P1-100,P6-600 |  | 2" Sanitary Waste Pipe | 18.63 | 10% | 20.493 | LF | 14 | 6 | 286.902 | 122.958 | 409.86
187 | P1-100,P6-600 |  | 2" Vent Pipe | 11 | 10% | 12.1 | LF | 12 | 5 | 145.2 | 60.5 | 205.7
STORM PIPE
188 | P1-100,P6-600 |  | 4" Overflow Storm Pipe | 79.25 | 10% | 87.175 | LF | 18 | 10 | 1569.15 | 871.75 | 2440.9
189 | P1-100,P6-600 |  | 4" Storm Pipe | 54.95 | 10% | 60.445 | LF | 18 | 10 | 1088.01 | 604.45 | 1692.46
CONDENSATE PIPE
190 | P1-100,P6-600 |  | 3/4" Condensate Pipe - Route To Sink Tailpiece w/ Air Gap (P6-600 Key Note 3) | 106.81 | 10% | 117.491 | LF | 8.5 | 3.5 | 998.6735 | 411.2185 | 1409.892
ALLOWANCE
191 | P1-100 |  | Allowance For Verify Existing Utilities Crossing The Building Footprint Including Test Pits, Vacuum Excavation, Restoration, Traffic Control, And Elevation Verification Of The Existing 24-Inch Storm Pipe Prior To Foundation Construction. (Point 5,7) | 1 | 0% | 1 | LS | 6500 | 2500 | 6500 | 2500 | 9000
|  |  | Subtotal | [6 empty] | 16878.5965 | 12449.1365 | 29327.733
|  | 31 | DIVISION 31 — EARTHWOORK
192 | S1-101 |  | Excavation | 159 | 20% | 190.8 | CY | 75 | 0 | 14310 | 0 | 14310
193 | S1-101 |  | Backfill | 53 | 20% | 63.6 | CY | 25 | 3 | 1590 | 190.8 | 1780.8
194 | C1-301 |  | Mild Site Grading | 231 | 20% | 277.2 | SF | 0.35 | 0 | 97.02 | 0 | 97.02
TRENCHING
195 | C1-401 |  | Excavation | 48.6111 | 20% | 58.3333 | CY | 18 | 0 | 1050 | 0 | 1050
196 | C1-401 |  | Backfill | 34.7222 | 20% | 41.6667 | CY | 14 | 4 | 583.3333 | 166.6667 | 750
Note: 20% Fluff Factor is Added
|  |  | Subtotal | [6 empty] | 17630.3533 | 357.4667 | 17987.82
|  | 32 | DIVISION 32 — EXTERIOR IMPROVEMENTS
SITE WORK
197 | C1-201 |  | 5" THK Concrete Sidewalk - #3'S @ 12" O.C. EW - Tooled Joints @ Interval - 2" Sand base - Place Full Depth Thru Joints w/ 1/2"x5" Premolded Joint Filler w/ Sealant | 231.1 | 10% | 254.21 | SF | 5.25 | 4.75 | 1334.6025 | 1207.4975 | 2542.1
EROSION CONTROL
198 | C1-301 |  | Silt Log - Silt Screen Sheathing | 142.75 | 10% | 157.025 | LF | 1.75 | 2.25 | 274.7937 | 353.3063 | 628.1
199 | C1-301 |  | Inlet Protection - Burlap Or Fabric (Embed Fabric 4" Into Ground) - 1"x2" Wood Posts 3' Long | 2 | 0% | 2 | EA | 95 | 65 | 190 | 130 | 320
LANDSCAPING
200 | L1-101 |  | 4" River Rock - Filter Fabric - 6" Compacted Subgrade - Undisturbed Subgrade | 51.65 | 10% | 56.815 | SF | 2.5 | 3.25 | 142.0375 | 184.6488 | 326.6863
201 | L1-101 |  | SOD | 1595.11 | 10% | 1754.621 | SF | 0.45 | 0.55 | 789.5795 | 965.0416 | 1754.621
202 | L1-101 |  | Steel Edging - 12" Steel Stake | 90.29 | 10% | 99.319 | LF | 2.75 | 3.5 | 273.1273 | 347.6165 | 620.7438
|  |  | Subtotal | [6 empty] | 3004.1405 | 3188.1106 | 6192.251
|  | 33 | DIVISION 33 — UTILITUES
SITE UTILITIES
203 | C1-401 |  | 24" Storm Drain Pipe | 26.86 | 10% | 29.546 | LF | 55 | 85 | 1625.03 | 2511.41 | 4136.44
204 | C1-401 |  | 8" Storm Sewer Pipe | 63.93 | 10% | 70.323 | LF | 22 | 18 | 1547.106 | 1265.814 | 2812.92
205 | C1-401 |  | 6" Perforated HDPE Underdrain Pipe | 26.72 | 10% | 29.392 | LF | 12 | 7 | 352.704 | 205.744 | 558.448
206 | C1-401 |  | ACO S100K Trench Drain w/ ADA/Heel Proof Grate | 7.73 | 10% | 8.503 | LF | 45 | 165 | 382.635 | 1402.995 | 1785.63
|  |  | Subtotal | [6 empty] | 3907.475 | 5385.963 | 9293.438
|  |  | TOTAL AMOUNT | [6 empty] | 385187.5555 | 394839.352 | 795026.9075
|  |  | MOBILIZATION (10%) |  |  |  |  | 10% |  |  |  | 79502.6907
|  |  | PROFIT (10%) |  |  |  |  | 10% |  |  |  | 79502.6907
|  |  | OVERHEAD (20%) |  |  |  |  | 20% |  |  |  | 159005.3815
|  |  | INSURANCE (1%) |  |  |  |  | 1% |  |  |  | 7950.2691
|  |  | SUPERVISION (9%) |  |  |  |  | 9% |  |  |  | 71552.4217
|  |  | TOTAL BASEBID | [8 empty] | 1192540.3612
NOTES:
Furnish & Installation
Non-union Wage Rates Are Used